## STAR PROTOCOL PARTS
Part | Discription | Part number | Manufacture # | Vendor | Manufacture
RIG
Rig Frame | ** | ** |  | 80 / 20
Water Custom Panels | ** | ** |  | FRED &TANG
Flow Meter Custom Panels | ** | ** |  | FRED &TANG
Flow Meter Custom Panels | ** | ** |  | FRED &TANG
Flow Meter 10--Vaccuum | AVANTOR MASTERFLEX (VWR LLC) Masterflex Variable-Area Flowmeter with Valve, Direct Reading, Aluminum Fittings, 150-mm Scale; 10 LPM Air | 50-196-1140 | MFLX32003-14 | Fisher Scientific | AVANTOR MASTERFLEX
Flow Meter 2.5 w/ knob--clean air | AVANTOR MASTERFLEX (VWR LLC) Masterflex Variable-Area Flowmeter with Valve, Direct Reading, Brass Fittings, 150-mm Scale; 2.5 LPM Air | 50-196-1143 | MFLX32004-10 | Fisher Scientific | AVANTOR MASTERFLEX
Flow Meter 2.5 w/o know--exhaust | Masterflex® Variable-Area Flowmeter without Valve, Direct-Reading, Brass Fittings, 150-mm Scale; 2.5 L/min Air | MFLX32001-10 | MFLX32001-10 | Avantor (VWR) | AVANTOR MASTERFLEX
1/4 in Female Connectors NPT | Female Adapter: Nylon, Push-to-Connect x FNPT, For 1/4 in Tube OD, 1/4 in Pipe Size, Black, 10 PK | 1PEL6 | 3014 56 14 | Grainger
1/4 in tubing--blue | 5/32″ ID x 1/4″ OD, 3/64″ Wall Thickness, Cut to Length (1000' Standard Length) Polyurethane Tube Blue, 123 Max psi, 95 Hardness | 48651442 | PT0404-1000B | MSC | COILHOSE PNEUMATICS
1/4 in tubing--red | 5/32″ ID x 1/4″ OD, 3/64″ Wall Thickness, Cut to Length (1000' Standard Length) Polyurethane Tube | 48651681 | PT0404-1000TR | MSC | COILHOSE PNEUMATICS
1/4 in tubing--black | 5/32″ ID x 1/4″ OD, 3/64″ Wall Thickness, Cut to Length (1000' Standard Length) Polyurethane Tube Black, 123 Max psi, 95 Hardness | 48651509 | PT0404-1000K | MSC | COILHOSE PNEUMATICS
1/4 in tubing--yellow | GRAINGER APPROVED Tubing: Polyurethane, ID 5/32 in, OD 1/4 in, 100 ft Lg, Yellow | 1CTG5 | 1CTG5 | Grainger
1/8 in tubing--blue | 1/16″ ID x 1/8″ OD, 1/32″ Wall Thickness, Cut to Length (2,500' Standard Length) Polyethylene Tube Blue, 150 Max psi | 48655187 | PE021-2500B | MSC | COILHOSE PNEUMATICS
1/8 in tubing--black | 3/32″ ID x 1/8″ OD, 1/64″ Wall Thickness, Cut to Length (500' Standard Length) Nylon 11 Tube Black, 852 Max psi, 78 Durometer Hardness | 74203712 | 36004 | MSC
1/4 in Y connector PTC | Wye Union: Nylon, Push-to-Connect x Push-to-Connect x Push-to-Connect, Black, Imperial, 10 PK | 1DDR5 | 3140 56 00 | Grainger
Manual Needle valve 1/4 in PTC | SMC Speed Control Valve: Tube, 1/4 in Valve Port Size, 1/4 in Valve Tube Size, In Valve Flow | 4DGV3 | AS2052F-07 | Grainger
1/4 in Y union PTC | Wye Union: Nylon, Push-to-Connect x Push-to-Connect x Push-to-Connect, Black, Imperial, 10 PK | 1DDR5 | 3140 56 00 | Grainger
vaccuum regualtor | SMC Vacuum Regulator: 1/4 in Vacuum Inlet Size, Push to Connect, 140 lpm Max Flow Rate, IRV | 30J548 | IRV10-N07BG | Grainger
Organic filter | ** |  |  | Fred & TANG
restek filter | Super-Clean Gas Filters Replacement (Charcoal) Hydrocarbons Filter, Ultra High Capacity | 22030 |  | Restek
restek base | Super-Clean Baseplate Single Position Baseplate for One Cartridge Filter, 1/8" Brass Fittings | 22025 |  | Restek
1/8-1/4 in Unqual union PTC connector | Unequal Union: Nylon, Push-to-Connect x Push-to-Connect, For 1/8 in x 1/4 in Tube OD, Black, 10 PK | 1PEW2 | 3106 53 56 | Grainger
HAM-LET Ball Vavle | Ball Valve: 1/4 in Pipe Size, Std, 300 psi CWP Max. Pressure, -40 to 400 F, Toggle Hangle | 3ZVX3 | H-1280-B-N-1/4-A | Grainger
Air and Nitrogne Gauges | Ashcroft 30052.5 Commercial Gauge with Back Connection, 0 to 30 psi, 2-1/2" Dial | EW-68008-03 |  | Cole-Parmer
Air Regulator | SPEEDAIRE Compressed Air Regulator: Brass, 1/4 in NPT, 15 cfm, 400 psi Max Op Pressure, Nonrising | 4ZM06 |  | Grainger
Air Tank Regulator | Airgas Single Stage Brass 0-25 psi General Purpose Cylinder Regulator CGA-590 | Y11215A590-AG |  | AirGas
Nitrogen Tank Regulator | Airgas Single Stage Brass 0-25 psi General Purpose Cylinder Regulator CGA-580 | Y11215A580-AG |  | AirGas
1/4 in NPT to PTC connector | Male Adapter: Brass, Push-to-Connect x MNPT, For 1/4 in Tube OD, 1/8 in Pipe Size, 18 mm Overall Lg | 36X026 | KQ2H07-34AS | Grainger
Vavle and Gauge Custom Panel | ** |  |  | FRED &TANG
1/8 in Equal union PTC connector | Union: Nylon, Push-to-Connect x Push-to-Connect, For 1/8 in x 1/8 in Tube OD, Black, 10 PK | 1PEV2 | 3106 53 00 | Grainger
Zero Dead Space Electronic Needle Vavle | EIVU-Z-ENS | EIVU-Z-ENS |  | Clippard
Zero Dead Space fitting | Headless 1/4-28 Flatbottom Fitting, 1/8" OD | ZDVF-18 |  | Clippard
3 way-dual synchronous soleinoid Valve | Dual 3-way isolation valve | SH360T042 |  | NResearch
OLFACTOMETER
1/8 in elbow fitting connector | Male Elbow: Brass, Push-to-Connect x MNPT, For 1/8 in Tube OD, 1/8 in Pipe Size | 36X076 | KQ2L01-34AS | Grainger
1L/SLPM Mass Flow Controller | Mass Controller, 0 - 1 SLPM, Display | MC-1SLPM-D/5M, 5IN, GAS: Air |  | AliCat
100SCCM Mass Flow Controller | Mass Controller, 0 - 100 SCCM, Display | MC-100SCCM-D/5M, 5IN, GAS: Air |  | AliCat
MFC Power cord-- | Power Adapter - 24 VDC, 1 Amp (Worldwide) | PVPS24U |  | AliCat
custom MFC power cord
barb fitting-- Tygon to Manifold | Barb Fittings Zero Dead Volume | FITM331 |  | NResearch
4 Position, 3 normally close 1 normally open manifold | Nresearch-3 NC, 1 NO 2-way Inline Isolation Valve | 225T081 |  | NResearch
4 Position Normally closed Manifold | 4x2-way NC Inline Isolation Valve | 225T082 |  | NResearch
1/8 in black ferrle/yellow nut | Super Flangeless™ Ferrule Tefzel™ (ETFE), 1/4-28 Flat-Bottom, for 1/8" OD Yellow - 10 Pack | P-359X |  | Idex
big Teflon Tubing | Teflon Tubing .062 in I.D., .125 in O.D., Inert(PTFE) | TBGM110 |  | NResearch
1/8 in Manual Needle Valve PTC
Nitrogen manifold plug | Plug 1/4-28 PTFE | FITM128 |  | NResearch
Two piece fitting set | Two Piece fitting set 1/4-28, 0.36x0.62 PCTFE | 252P109-50 |  | NResearch
small Teflon tubing | Teflon Tubing .036 in I.D., .062 in O.D., Inert(PTFE) | TBGM109 |  | NResearch
Amber Glass Vials
Silicon/Teflon Septum w/ Cap
Teensy to computer Cable
Teensy connector board | PJRC Teensy USB Board with Header Pins |  |  | PJRC
Controller Board
Vial board
Dummy Vial Board
2 Position Jumper Pin | 2 (1 x 2) Position Shunt Connector Black Closed Top 0.100" (2.54mm) Tin | S9000-ND | STC02SYAN | DigiKey | Sullins Connector Solutions
Female Molex Connector | Socket Contact Tin 20-24 AWG Crimp Power | WM1837-ND | 430300007 | DigiKey | Molex
Male Molex Housing | 2 Rectangular Connectors - Housings Receptacle Black 0.118" (3.00mm) | WM1845-ND | 436450200 | DigiKey | Molex
small cable ribbon | CBL RIBN 10COND 0.05 GRAY 5'; Flat Ribbon Cable Gray 10 Conductors 0.050" (1.27mm) Flat Cable 5.0' (1.52m) | MC10G-5-ND | 3365/10 300SF | DigiKey | 3M
small cable ribbon connector | CONN RCPT 10P IDC 26-28AWG GOLD; 10 Position Rectangular Receptacle Connector IDC Gold 26-28 AWG | MKC10A-ND | 89110-0101 | DigiKey | 3M
Power Cable
On/Off Switch
3 in machine screw
Board stand-offs | BRD SPT SNAP LOCK NYLON 1/4" | RP426-ND | LCBS-4-01 | DigiKey | Essentra Components
Custom acrylic shield | ** |  |  | FRED &TANG
ARDUINO/COMPUTER
Arduino plastic casing | ** |  |  | FRED&TANG
Arduino custom panel | ** |  |  | FRED&TANG
BNC cable rigs | Connector Nut For BNC and TNC Connectors | A97566-ND | 1-1634816-0 | DigiKey | TE Connectivity AMP Connectors
BNC cable | CBL ASSY BNC PLUG-PLUG RG58C 6'; Cable Assembly Coaxial BNC to BNC RG-58C 72.0" (1.8m) 6.0' | 501-1021-ND | 2249-C-72 | DigiKey | Pomona Electronics
BNC Cable | CBL ASSY BNC PLUG RG58C 36"; Cable Assembly Coaxial BNC to BNC RG-58C 36.00" (914.40mm) | 501-1018-ND | 2249-C-36 | DigiKey | Pomona Electronics
ZDS Electronic needle valve Controller Box | ** |  |  | FRED &TANG
4 position black cable | CABLE MOD FLAT 4COND BLACK 100';4 Conductor Modular Straight Cable Black 100' (30.5m) | A0042R-100-ND | AT-K-26-4-B/100 | DigiKey | Assmann WSW Components
LCD Screen Ardunio board | LCD MOD 32DIG 16X2 TRANS YLW/GRN; Character Display Module Transflective 5 x 8 Dots STN - Super-Twisted Nematic LED - Yellow/Green Serial 80.00mm x 36.00mm x 25.50mm | 27977-ND | 27977 | DigiKey | Parallax Inc.
small single pin wires with housing |  |  |  |  | Polulo
Arduino Board | ARDUINO MEGA2560 ATMEGA2560; ATmega2560 Arduino Mega2560 AVR® ATmega AVR MCU 8-Bit Embedded Evaluation Board | 1050-1018-ND | A000067 | DigiKey | Arduino
Arduino power? | AC/DC WALL MOUNT ADAPTER 12V 12W | 102-3432-ND | SWI12-12-N-P6 | DigiKey | CUI Inc.
Arduino to computer cable
Breakout Board | 2x20 0.1" Header IDC40 Breakout Board | BRK2X20-L-DIN |  | Winford
wiring | ** |  |  | FRED&TANG
40 position ribbon Cable | IDC CBL - HHKC40S/AE40G/HHKC40S; 40 Position Cable Assembly Rectangular Socket to Socket 3.00' (914.40mm) | H3CCS-4036G-ND | H3CCS-4036G | DigiKey | Assmann WSW Components
#2-56 nut | Hex Nut: #2-56 Thread, 3/16 in Hex Wd, 1/16 in Hex Ht, Steel, Not Graded, Zinc Plated, 100 PK | 2FE43 | 325040-PG | Grainger
BEHAVIORAL BOX
Lick ciruit board
#2 mechanical screw 1/2 in | #2-56 Machine Screw, Carbon Steel, 1/2" L, 100 PK | 1ME91 |  | Grainger
metal lick tube
dental wax | Utility Wax Strips HSI Round White 64/Bx | 1008759 |  | Henry Schein
tygon tubing--lick tubes | Tubing: Tygon S3 E-3603, TPE, 1/32 in Inside Dia, 3/32 in Outside Dia, 50 ft Lg, Clear | 22XH28 | ACF00001 | Grainger
60 mL syringe | SYRINGE LUER LOCK 60CC CS100 | 15003-094 | SS-60L | VWR | TERUMO MEDICAL INC.
needle to water solinoid connection | Cole-Parmer Adapter, PP, Male Luer Lock to 10-32 thread, 25/pack | EW-45518-84 |  | Cole-Parmer
blunted interlocking needle 21 GA | Blunt Tip Needles with Dispensing Tips, Air-Tite | 89500-304 | NB2112 | VWR | AirTite
water solienoid | 2-way NC Isolation Valve | 161T012 |  | Nresearch
angle bracket micromanipulator | DT100-AB; angle bracket, DT-100 series | 60050000E |  | Siskiyou
micromanipulator | DT3-100; dovetail stage, 12mm travel, XYZ | 62080000E |  | Siskiyou
vaccuum/mfc tygon tubing | Tubing: Tygon S3 B-44-3, TPE, 1/8 in Inside Dia, 3/16 in Outside Dia, 50 ft Lg, Clear | 2LPR9 | AAB00006 | Grainger
barb to NPT--tygon vaccuum to flowmeter | 1/8″ Barb, 1/8 NPT, Nylon Single Barbed Tube Adapter | 48712244 | A2-2BN | MSC
1/2 in pedestal | Ø1" (Ø25.0 mm) Pedestal Posts, 1/4"-20 (M6) Taps | RS05P |  | Thorlabs
pedastal clamp | CF125-P5 - Clamping Fork, 1.24" Counterbored Slot, Universal, 5 Pack | CF125-P5 |  | Thorlabs
Magnetic Base (Top and Bottom) | Complete 3" x 3" Kinematic Base, Top and Bottom Plates, 1/4"-20 Mounting | KB3X3 |  | ThorLabs
Bread Board 12x12 | Aluminum Breadboard 12" x 12" x 1/2", 1/4"-20 Taps | MB12 |  | ThorLabs
light bulb | LED WHITE CLEAR T-1 T/H; White LED Indication - Discrete 12V Radial | LTH3MM12VFR4400-ND | LTH3MM12VFR4400 | DigiKey | Visual Communications Company - VCC
4 in optical post | 1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 4" | TR4 |  | Thorlabs
2 in pedestal | Ø1" (Ø25.0 mm) Pedestal Posts, 1/4"-20 (M6) Taps | RS2P |  | ThorLabs
Webcam | Generic U19-A Night Vision Webcam 12.0MP, Microphone Built In | JUF4645 |  | Amazon
1/4-20 screw inserts | Knurled Press Insert: Flanged, 1/4-20 Internal Thread Size, 1/2 in Lg, 5/16 in Drill Size, 25 PK | 4ZU39 |  | Grainger
thumb screw inserts | GRAINGER APPROVED Press Insert: Brass, 4-40 Internal Thread Size, 3/16 in Lg, 50 PK | 1GUC6 |  | Grainger
headbar clamps
headbar clamp pin
thumb screw | Thumb Screw: #4-40 Thread Size, Knurled, 18-8 Stainless Steel, Plain, 0.094 in Max Head Ht | 5RA21 | Z2300SS | Grainger
custom headbar
Teflon Odor Port | JF-DR-OP0008 Odor Port, Top |  |  | Max Plank Neuroscience
#2 mechanical screw 3/4 in | #2-56 Machine Screw, Carbon Steel, 3/4" L, 100 PK | 1ME92 |  | Grainger
exhaust fan | FAN AXIAL 80X25.4MM 12VDC WIRE | 381-2335-ND
sound proofing foam | Quiet Barrier® Specialty Composite: 1 1/4 in. thick x 48 in. x 54 in. sheet with PSA |  |  | Soundproof Cow
custom acrylic base plate | ** |  |  | FRED&TANG
1/4-20 set screw | HW-KIT2 - 1/4"-20 Cap Screw and Hardware | HW-KIT2 |  | ThorLabs
#4-40 nut for set screw small | Hex Nut: #4-40 Thread, 1/4 in Hex Wd, 3/32 in Hex Ht, Steel, Not Graded, Zinc Plated, 100 PK | 2GA51 | 325080-PG | Grainger
CLEANING
Surgery
screws for head-bar surgeries |  | 000-120 X 1/16th inch | AMS120-1B-25 | Antrin Miniature Specialties
heat therapy pump |  |  | HTP1500 | Kent scientific
Note on C8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Updated as these exact parts are no longer carried on Cole-Parmer
Note on C9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Updated as these parts are no longer carried by Cole-Parmer
Note on C10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Updated as these parts are no longer carried by Cole-Parmer